Hickman Edge Systems March 2024

4 Commerce Way

Arden, North Carolina 28704

Phone 828-676-1700

Website [HickmanEdgeSystems.com](http://hickmanedgesystems.com/)

Email [info@hickmanedgesystems.com](mailto:info@hickmanedgesystems.com)

Guide Specification

Specifier Notes: This guide specification is written in Construction Specifications Institute (CSI) 3-Part Format in accordance with *The CSI Construction Specifications Practice Guide,* *MasterFormat, SectionFormat,* and *PageFormat.*

This Section must be carefully reviewed and edited by the Architect to meet the requirements of the Project and local building code. Coordinate this Section with Conditions of the Contract, Division 01, other specification sections, and the Drawings. Delete all Specifier Notes after editing this Section.

Section numbers and titles are based on *MasterFormat 2020 Edition.*

1. 07 71 19.01

MANUFACTURED SNAP-ON FASCIA FOR SINGLE-PLY MEMBRANE SYSTEMS

Specifier Notes: This Section covers all Hickman Edge Systems fascia systems. Consult Hickman Edge Systems for assistance in editing this Section as required for the Project.

Optional information is identified in blue font below. Select appropriate options and delete other information as needed. [delete this paragraph]

Consult Hickman Edge Systems for information regarding custom fascia systems.

* 1. GENERAL
     1. SECTION INCLUDES

A. Furnish and install premanufactured fascia per the drawings and specifications, including all clips, sealant, fasteners, and joining to make weathertight and watertight. Components and accessories shall be factory-fabricated and supplied by a specified Manufacturer.

B. Contractor shall utilize Manufacturer's technical representative to perform field measuring, takeoff, shop drawing development and order processing for all fascia components specified in this section.

* + 1. RELATED REQUIREMENTS

Specifier Notes: Edit the following list of related sections as required for the Project. Limit the list to sections with specific information that the reader might expect to find in this Section, but is specified elsewhere.

* + - 1. Section 07\_\_\_\_\_\_\_ – \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Roofing.
    1. REFERENCE STANDARDS

Specifier Notes: List reference standards used elsewhere in this Section, complete with designations and titles. Delete reference standards from the following list not used in the edited Section.

* + - 1. FM Global (www.fmglobal.com).
      2. SPRI (Single Ply Roofing Industry) ([www.spri.org](http://www.spri.org)):
         1. ANSI/SPRI/FM 4435/ES-1 – Wind Design Standard for Edge Systems Used with Low Slope Roofing Systems.
    1. PREINSTALLATION MEETINGS

Specifier Notes: Edit the Preinstallation Meetings article as required for the Project. Delete article if not required.

* + - 1. Convene preinstallation meeting [1 week] [2 weeks] before start of installation of fascia system.
      2. Require attendance of parties directly affecting Work of this Section, including Contractor, Architect, installer, and manufacturer’s representative.
      3. Review the Following:
         1. Materials.
         2. Examination of roof edge areas.
         3. Installation.
         4. Cleaning.
         5. Protection.
         6. Coordination with other Work, including roofing installation.
    1. SUBMITTALS

Specifier Notes: Edit the Submittals article as required for the Project. Delete submittals not required.

* + - 1. Comply with Division 01.
      2. Products shall be manufactured in specified manufacturer’s facilities. Products fabricated by installer or other fabricator will not be acceptable unless fabricator can demonstrate to Architect’s satisfaction that products have been tested for resistance in accordance with Test Method RE-1 and RE-2 of ANSI/SPRI ES-1.
      3. Product Data: Submit manufacturer’s product data, including installation instructions.
      4. Shop Drawings: Submit manufacturer’s shop drawings, including plans, elevations, sections, and details, indicating dimensions, materials, components, fasteners, finish, and accessories.
      5. Samples: Submit manufacturer’s sample of fascia system.
         1. Sample Size: Minimum 6” long.
      6. Color Samples: Submit manufacturer’s color samples of exterior fascia covers, consisting of complete set of metal color chips representing manufacturer’s full range of available colors.
      7. Manufacturer’s Certification: Submit manufacturer’s certification that materials comply with specified requirements and are suitable for intended application.
      8. Manufacturer’s Project References: Submit manufacturer’s list of 10 successfully completed fascia system projects of similar size and scope to this Project, including project name and location, name of architect, and type and quantity of fascia systems furnished.
      9. Warranty Documentation: Submit manufacturer’s standard warranty.
    1. QUALITY ASSURANCE
       1. Manufacturer’s Qualifications: Manufacturer regularly engaged in the manufacturing of fascia systems of similar type to that specified for a minimum of 15 years.
       2. Installer's Qualifications:
          1. Installer regularly engaged in installation of fascia systems of similar type to that specified for a minimum of 5 years.
          2. Use persons trained for installation of fascia systems.
    2. DELIVERY, STORAGE, AND HANDLING
       1. Delivery Requirements: Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.
       2. Storage and Handling Requirements:
          1. Store and handle materials in accordance with manufacturer’s instructions.
          2. Keep materials in manufacturer’s original, unopened containers and packaging until installation.
          3. Store materials in clean, dry area indoors.
          4. Do not store materials directly on floor or ground.
          5. Protect materials and finish during storage, handling, and installation to prevent damage.
    3. WARRANTY

Specifier Notes: Specify the appropriate available wind warranty. Reference the individual Product Specifier Notes for available warranty.

* + - 1. Wind Warranty Period: Warranted in wind conditions up to 215 mph with a Lifetime wind warranty. Warranty specified for individual products below.
      2. Wind Warranty Period: Warranted in wind conditions up to 120 mph with a 20 Year wind warranty. Warranty specified for individual products below.
      3. Warranty Period, Product: 5-year workmanship warranty covering replacement or repair of products that are defective in material or workmanship.
      4. Warranty Period, Finish: Limited 30-year warranty for prefinished coil-coated steel and aluminum coated with Kynar 500 standard colors covering fade, chalk, and film integrity.
  1. PRODUCTS
     1. MANUFACTURERS
        1. Manufacturer: Hickman Edge Systems, 4 Commerce Way, Arden, North Carolina 28704. Phone 828-676-1700. [www.Hickmanedgesystems.com](http://www.omgedgesystems.com). info@Hickmanedgesystems.com.

Specifier Notes: Specify if substitutions will be permitted.

* + - 1. Substitutions: [Not permitted] [Comply with Division 01].
      2. Single Source: Furnish materials from single manufacturer.
    1. FASCIA SYSTEM

Specifier Notes: Specify fascia system required for the Project. Delete fascia systems not required.

Specifier Notes: Use the following to specify "**TerminEdge EX"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-ex-fascia)

Specify face size. Face size ranges from 4” to 8.5”.

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge EX"**
         1. Description:

Fascia with extruded aluminum anchor bar.

For single-ply roofing

* + - * 1. Face Size: [4”] [5.5”] [7”] [8.5”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 275 psf Horizontal.

FM Approved up to 1-270 Perimeter and 1-225 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Extruded Anchor Bar:

Material: Aluminum.

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: EPDM Rubber.

* + - * 1. Lap Joints

Material: Same as exterior fascia covers.

Finish and Color: Same as exterior fascia covers.

Width: 1”.

Specifier Notes: Use the following to specify "**TerminEdge XT"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-xt-fascia)

Specify face size. Face size ranges from 8.5” to 13”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.050" aluminum, 0.063" aluminum, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge XT”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

For single-ply roofing.

* + - * 1. Face Size: [8.5”] [10”] [11.5”] [13”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 176 psf Horizontal.

FM Approved up to 1-180 Perimeter and 1-135 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Extruded Anchor Bar:

Material: Aluminum

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Formed Continuous Cleat

Material 20 ga. Galvanized Steel.

Formed Lengths: 12’-0”.

* + - * 1. Anchor Bar Splices:

Material: EPDM Rubber.

* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**TerminEdge HG"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-hg-fascia)

Specify face size. Face size ranges from 4” to 10”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel   
(10” face NOT available in 24 ga. steel or .040” aluminum)

* + - 1. **Fascia System: “TerminEdge HG”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

For single-ply roofing.

* + - * 1. Face Size: [4”] [5.5”] [7”] [8.5”] [10”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 365 psf Horizontal.

FM Approved up to 1-375 Perimeter and 1-300 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Extruded Anchor Bar:

Material: Aluminum.

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: EPDM Rubber.

* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**TerminEdge Canted EX WD"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-canted-ex-wd-fascia)

Specify face size. Face size ranges from 5.5” to 10”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel   
(10” face NOT available in 24 ga. steel or .040” aluminum)

* + - 1. **Fascia System: “TerminEdge Canted EX WD”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

For single-ply roofing.

* + - * 1. Face Size: [5.5”] [7.5”] [8.5”] [10”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 293 psf Horizontal.

FM Approved up to 1-300 Perimeter and 1-240 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Extruded Anchor Bar:

Material: Aluminum

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: Aluminum.

* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Width: 3.5”.

* + - * 1. Formed Waterdam:

Material: 24 ga. Galvanized Steel.

* + - * 1. Leveler:

Material: 24 ga. Galvanized Steel.

Specifier Notes: Use the following to specify "**TerminEdge Canted EX"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-canted-ex-fascia)

Specify face size. Face size ranges from 5.5” to 10”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel   
(10” face NOT available in 24 ga. steel or .040” aluminum)

* + - 1. **Fascia System: “TerminEdge Canted EX”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

Beveled wood nailer.

For single-ply roofing.

* + - * 1. Face Size: [5.5”] [7.5”] [8.5”] [10”] [Indicated on the Drawings].
        2. Extruded Anchor Bar:

Material: Aluminum.

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: Aluminum.


* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**TerminEdge Canted XT WD"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-canted-xt-wd-fascia)

Specify face size. Face size ranges from 9” to 13.5”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.050" aluminum, 0.063" aluminum, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge Canted XT WD”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

For single-ply roofing

* + - * 1. Face Size: [9”] [10.5”] [12”] [13.5”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 139 psf Horizontal.

FM Approved up to 1-135 Perimeter and 1-105 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Extruded Anchor Bar:

Material: Aluminum.

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Formed Continuous Cleat

Material 20 ga. Galvanized Steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: Aluminum.

* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

* + - * 1. Formed Waterdam:

Material: 24 ga. Galvanized Steel.

* + - * 1. Leveler:

Material: 24 ga. Galvanized Steel.

Specifier Notes: Use the following to specify "**TerminEdge Canted XT"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-canted-xt-fascia)

Specify face size. Face size ranges from 9” to 13.5”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.050" aluminum, 0.063" aluminum, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge Canted XT”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

Beveled wood nailer.

For single-ply roofing.

* + - * 1. Face Size: [9”] [10.5”] [12”] [13.5”] [Indicated on the Drawings].
        2. Extruded Anchor Bar:

Material: Aluminum.

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Formed Continuous Cleat

Material 20 ga. Galvanized Steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: Aluminum.



* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**TerminEdge Drip Edge EX"** fascia system.

**Flat Roof Flange** **Pitched Roof Flange (Up to 4/12” Pitch)**

**Hickman Edge Systems Website:**

[Flat Roof Flange](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-drip-edge-ex-flat)

[Pitched Roof Flange](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-drip-edge-ex-pitched)

Specify face size. Face size ranges from 3” to 7.5”

**Wind Warranty:** Lifetime, 215 mph

**Available Fascia Cover Material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge Drip Edge EX”** 
         1. Description:

Fascia with extruded aluminum anchor bar.

For single-ply roofing.

* + - * 1. Face Size: [3”] [4.5”] [6”] [7.5”] [Indicated on the Drawings].
        2. Roof Flange: [Flat] [Roof Pitch \_\_\_\_\_\_\_:12]
        3. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 98 psf Horizontal.

FM Approved up to 1-90 Perimeter and 1-75 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Extruded Anchor Bar:

Material: Aluminum.

Thickness: Varies based on face height.

Extruded Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Anchor Bar Splices:

Material: Aluminum.


* + - * 1. Lap Joints

Material: Same as exterior fascia covers.

Finish and Color: Same as exterior fascia covers.

Width: 1”.

Specifier Notes: Use the following to specify "**TerminEdge"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-fascia)

Specify face size. Face size ranges from 3.5” to 12.25” (MAX TESTED 9.25” FACE)

**Wind Warranty:** 20-year, 120 mph

**Available Fascia Cover material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge”** 
         1. Description:

Fascia with formed galvanized steel cleat.

For single-ply roofing.

* + - * 1. Face Size: [3.5”] [4.75”] [6.25”] [7.75”] [9.25”] [10.75”] [12.25”] [Indicated on the Drawings].
        2. Approvals (MAX TESTED 9.25” Face Height):

ANSI/SPRI/FM 4435/ES-1 up to 381 psf Horizontal.

FM Approved up to 1-390 Perimeter and 1-315 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Formed Cleat:

Material: 20 ga. galvanized steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.


* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 4”.

Specifier Notes: Use the following to specify "**TerminEdge One Fascia"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-one-fascia)

Specify face size. Face size ranges from 4” to 8”

**Wind Warranty:** 20-year, 120 mph

**Available Fascia Cover material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge One Fascia”** 
         1. Description:

Fascia with formed galvanized steel cleat.

For single-ply roofing.

* + - * 1. Face Size: [4”] [5”] [6.5”] [8”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 396 psf Horizontal.

FM Approved up to 1-405 Perimeter and 1-315 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Formed Cleat:

Material: 20 ga. galvanized steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Cleat Springs

Material: Stainless Steel.

Width: 6”.

* + - * 1. Lap Joints (used with 24 ga. Steel, 22 ga. Steel, .040” aluminum).

Material: Same as exterior fascia covers.

Finish and Color: Same as exterior fascia covers.

Width: 1”.

* + - * 1. Concealed Splice Plate: (used with .050” and .063” aluminum).

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**TerminEdge One Extended"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/TerminEdge/terminedge-one-extended-fascia)

Specify face size. Face size ranges from 9.5” to 12.5”

**Wind Warranty**: 20-year, 120 mph

**Available Fascia Cover material (Modify Fascia Cover selection accordingly):** 0.050" aluminum, 0.063" aluminum, 22 ga. galvanized steel

* + - 1. **Fascia System: “TerminEdge One Extended”** 
         1. Description:

Fascia with formed galvanized steel cleat.

For single-ply roofing

* + - * 1. Face Size: [9.5”] [11”] [12.5”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 146 psf Horizontal.

FM Approved up to 1-150 Perimeter and 1-120 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Formed Cleat:

Material: 20 ga. galvanized steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Cleat Springs:

Material: Stainless Steel.

Width: 6”.


* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**EconoSnap"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/fascia-systems/econosnap-fascia)

Specify face size. Face size ranges from 5.25” to 12.75”

**Wind Warranty:** 20-year, 120 mph

**Available Fascia Cover material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel.

* + - 1. **Fascia System: “EconoSnap”** 
         1. Description:

Fascia with formed galvanized steel canted cleat.

For single-ply roofing1

* + - * 1. Face Size: [5.25”] [6.75”] [8.25”] [9.75”] [11.25”] [12.75”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 216 psf Horizontal.

FM Approved up to 1-210 Perimeter and 1-165 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Formed Canted Cleat:

Material: 24 ga. galvanized steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Spring Clip

Material: Stainless steel.

Lengths: 4”.

* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Use the following to specify "**EconoCrimp"** fascia system.



[Hickman Edge Systems Website](https://www.hickmanedgesystems.com/Products/Details/Hickman/fascia-systems/econocrimp-fascia)

Specify face size. Face size ranges from 5” to 12.5”

**Wind Warranty:** 20-year, 120 mph

**Available Fascia Cover material (Modify Fascia Cover selection accordingly):** 0.040" aluminum, 0.050" aluminum, 0.063" aluminum, 24 ga. galvanized steel, 22 ga. galvanized steel.

* + - 1. **Fascia System: “EconoCrimp”** 
         1. Description:

Fascia with formed galvanized steel canted cleat.

For single-ply roofing.

* + - * 1. Face Size: [5”] [6.5”] [8”] [9.5”] [11”] [12.5”] [Indicated on the Drawings].
        2. Approvals:

ANSI/SPRI/FM 4435/ES-1 up to 196 psf Horizontal.

FM Approved up to 1-195 Perimeter and 1-150 Corner.

Miami-Dade County Approved.

Florida Product Approval.

* + - * 1. Formed Canted Cleat:

Material: 24 ga. galvanized steel.

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

* + - * 1. Concealed Splice Plate:

Material: Same as cover material.

Finish and Color: Same as exterior fascia covers.

Width: 3.5”.

Specifier Notes: Specify exterior fascia cover material. Reference Product data for available materials. REQUIRED for ALL previous products. Delete materials not required.

* + - * 1. Exterior Fascia Covers:

Material: [0.040” aluminum] [0.050” aluminum] [0.063” aluminum] [24 ga. galvanized steel] [22 ga. galvanized steel]

Formed Lengths: 12’-0”.

Fastener Holes: Pre-Punched.

Specifier Notes: Specify exterior fascia cover finish. Delete finishes not required. Consult Hickman Edge Systems for finish selection for each material.

Finish: [Mill] [Prefinished Kynar] [Premium prefinished Kynar] [Post-finished Kynar] [Prefinished anodized] [Post-finished anodized].

Specifier Notes: Specify exterior fascia cover color. Consult Hickman Edge Systems for standard, premium, and custom color selection for each finish.

Color: \_\_\_\_\_\_\_\_\_\_\_\_.

* + - * 1. Fasteners:

Suitable for intended substrate.

Provided by fascia system manufacturer.

Specifier Notes: Specify factory-fabricated accessories as required for the Project.

Specify Welded or Metal-Lok fabrication of accessories. For welded, must use .050” aluminum or thicker.

Delete accessories not required. Consult Hickman Edge Systems for accessory details.

* + - 1. Accessory Type: Factory Fabricated [Welded] [Metal-Lok].
         1. Accessories:

Material, Finish, and Color: Same as exterior fascia covers.

Specifier Notes: Edit the list of accessories as required for the Project.

Miters:

Outside.

Inside.

Z-miter.

Ridge.

Valley.

End Caps:

Left.

Right.

Endwall Flashing/End Terms:

Left.

Right.

Radius:

Arch/Vault:

Sumps/Collector Box

Spillouts/Scuppers

* 1. EXECUTION
     1. EXAMINATION
        1. Examine roof edge areas, including roofing and blocking, to receive fascia system.
        2. Verify surfaces to support fascia system are clean, dry, straight, secure, and of proper dimensions.
        3. Notify Architect, Owner’s representative, and roofing installer of conditions that would adversely affect installation.
        4. Do not begin installation until unacceptable conditions are corrected.
     2. INSTALLATION
        1. Install fascia system in accordance with manufacturer’s instructions at locations indicated on the Drawings.

Specifier Notes: Provide the section number for the specified roofing.

* + - 1. Roofing: Specified in Section 07\_\_\_\_\_\_\_.
      2. Fasteners:
         1. Install fascia system using concealed fasteners in accordance with manufacturer’s instructions.
         2. Do not penetrate Horizontal roofing surface with fasteners.
      3. Sealant: Apply continuous beads of sealant in accordance with manufacturer’s instructions.
      4. Thermal Expansion: Create gap between retainer sections and between fascia sections in accordance with manufacturer’s instructions to allow for thermal expansion.
      5. Review lengths of straight pieces of exterior fascia covers before cutting to avoid creating relatively short sections adjacent to full-length sections.
      6. Isolate fascia system from ACQ treated wood blocking or other galvanically incompatible material with appropriate material.
    1. CLEANING
       1. Clean fascia system promptly after installation in accordance with manufacturer’s instructions.
       2. Remove clear protective vinyl film.
       3. Do not use harsh cleaning materials or methods that could damage finish.
    2. PROTECTION
       1. Protect installed fascia system to ensure that, except for normal weathering, fascia system will be without damage or deterioration at time of Substantial Completion.

END OF SECTION